## 01_table_s1_city_level_pv_utili
city | segment | pv_utilization_pct | pv_area_m2 | roof_area_m2 | building_count | pv_positive_building_count
Vienna | All buildings | 2.7676 | 1666256.7745 | 60205479.3021 | 261797 | 16620
Vienna | Residential | 1.7333 | 543728.0493 | 31369275.9744 | 222062 | 13383
Vienna | Non-residential | 3.8928 | 1122528.7252 | 28836203.3277 | 39735 | 3237
Bratislava | All buildings | 0.80921 | 168393.0679 | 20809541.5983 | 101906 | 2686
Bratislava | Residential | 0.65409 | 53872.8541 | 8236343.3386 | 66783 | 1901
Bratislava | Non-residential | 0.91083 | 114520.2138 | 12573198.2597 | 35123 | 785
Singapore | All buildings | 7.2751 | 8092346.9543 | 111234157.4197 | 282069 | 12737
Singapore | Residential | 4.0483 | 1526515.3215 | 37707790.2288 | 129657 | 7393
Singapore | Non-residential | 8.9299 | 6565831.6327 | 73526367.1909 | 152412 | 5344
Johor Bahru | All buildings | 1.2923 | 1305335.1704 | 101008261.7851 | 563858 | 4874
Johor Bahru | Residential | 0.25973 | 115475.8698 | 44460314.089 | 299834 | 2550
Johor Bahru | Non-residential | 2.1042 | 1189859.3006 | 56547947.6962 | 264024 | 2324
San Diego | All buildings | 2.5616 | 2582458.8689 | 100816147.9006 | 414749 | 59463
San Diego | Residential | 2.5843 | 958399.724 | 37085583.5969 | 193551 | 30854
San Diego | Non-residential | 2.5483 | 1624059.1448 | 63730564.3036 | 221198 | 28609
Tijuana | All buildings | 0.59591 | 428266.6035 | 71867672.077 | 1438885 | 4456
Tijuana | Residential | 0.15137 | 66743.191 | 44093640.4839 | 1190841 | 2925
Tijuana | Non-residential | 1.3017 | 361523.4125 | 27774031.5931 | 248044 | 1531
El Paso | All buildings | 0.55152 | 365434.368 | 66259182.5724 | 316020 | 10953
El Paso | Residential | 0.71435 | 46979.4207 | 6576527.1797 | 34306 | 1635
El Paso | Non-residential | 0.53358 | 318454.9473 | 59682655.3927 | 281714 | 9318
Juarez | All buildings | 0.76124 | 563500.6061 | 74024382.1805 | 779737 | 7975
Juarez | Residential | 1.3392 | 91683.6641 | 6846281.092 | 85505 | 2410
Juarez | Non-residential | 0.70234 | 471816.9419 | 67178101.0885 | 694232 | 5565
Hong Kong | All buildings | 1.8693 | 1459295.612 | 78066829.5923 | 413781 | 12171
Hong Kong | Residential | 1.1247 | 394018.759 | 35032544.5903 | 232404 | 7828
Hong Kong | Non-residential | 2.4754 | 1065276.853 | 43034285.002 | 181377 | 4343
Shenzhen | All buildings | 2.8065 | 2533798.7774 | 90282551.3674 | 78604 | 3758
Shenzhen | Residential | 0.70628 | 188183.2563 | 26644447.5703 | 48113 | 1143
Shenzhen | Non-residential | 3.6859 | 2345615.5212 | 63638103.7971 | 30491 | 2615
Monaco | All buildings | 0.78887 | 5792.3111 | 734252.9479 | 1352 | 34
Monaco | Residential | 0.9647 | 3093.8189 | 320702.2795 | 693 | 19
Monaco | Non-residential | 0.65252 | 2698.4922 | 413550.6685 | 659 | 15
Nice | All buildings | 0.83443 | 79948.076 | 9581211.5941 | 56898 | 991
Nice | Residential | 0.19111 | 5657.6603 | 2960493.7039 | 18813 | 258
Nice | Non-residential | 1.1221 | 74290.4157 | 6620717.8902 | 38085 | 733

## 02_table_s1_economic_model_city
City | cost_per_watt_usd | capex_reduction | electricity_rate_usd_per_kwh | residential_electricity_rate_usd_per_kwh | non_residential_electricity_rate_usd_per_kwh | export_rate_usd_per_kwh | pv_yield_kwh_per_kw_year | self_consumption_ratio | degradation_rate | om_rate | parameter_provenance
Bratislava | 1.9 | 0.1 | 0.194 | 0.2088 | 0.1856 | 0.173 | 1150 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
El Paso | 2.34 | 0.2 | 0.1111 | 0.1494 | 0.0729 | 0.02 | 1750 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Hong Kong | 2.5 | 0.2 | 0.183 | 0.1794 | 0.1914 | 0.35 | 1350 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Johor Bahru | 1 | 0.15 | 0.1281 | 0.1289 | 0.1274 | 0.07 | 1450 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Juarez | 1.6 | 0.1 | 0.1048 | 0.1221 | 0.0875 | 0.119 | 1750 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Monaco | 2.6 | 0.2 | 0.2279 | 0.2279 | 0.2279 | 0.173 | 1500 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Nice | 2.2 | 0.2 | 0.2053 | 0.225 | 0.1856 | 0.173 | 1500 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
San Diego | 2.6 | 0.2 | 0.282 | 0.3197 | 0.2443 | 0.03 | 1650 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Shenzhen | 0.6 | 0.15 | 0.1056 | 0.0967 | 0.1145 | 0.07 | 1350 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Singapore | 1.2 | 0.1 | 0.241 | 0.2315 | 0.2125 | 0.219 | 1450 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Tijuana | 1.6 | 0.1 | 0.0884 | 0.1221 | 0.0547 | 0.119 | 1650 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked
Vienna | 2.2 | 0.2 | 0.292 | 0.3132 | 0.232 | 0.216 | 1150 | 0.7 | 0.005 | 0.01 | script/econimic_model.py:city_solar_data_checked

## 03_table_s1_global_model_assump
assumption | value | unit | provenance
system_size_kw | 5 | kW | plot_discounted_cashflow_profiles_citypair_lines.py default
project_lifetime_years | 25 | years | plot_discounted_cashflow_profiles_citypair_lines.py default
discount_rate | 0.05 | share | plot_discounted_cashflow_profiles_citypair_lines.py default

## 04_table_s2_policy_friction_cod
Indicator | Short name | Dimension | Definition | Score = 0 | Score = 1 | Score = 2 | Score = 3 | Interpretation note
A | Export compensation friction | Revenue | Extent to which compensation for exported PV electricity is weaker than retail self-consumption value. | Stable and attractive compensation (e.g., generous FiT or close-to-retail offset). | Moderate discount relative to retail value. | Clearly weaker export value than self-consumption, but still usable. | Very weak export compensation or highly unfavorable export pricing. | Higher values indicate weaker monetization of exported generation.
B | Export constraint friction | Revenue | Restrictions on how exported electricity credits can be used, retained, or monetized. | No meaningful constraint on offset, carry-forward, or monetization. | Minor or occasional constraints. | Noticeable limits on export use or contractual caps. | Strong limits such as no cash-out, no carry-forward, or strict export-capacity ceilings. | Captures whether exported electricity can be converted into durable economic value.
C | Settlement complexity friction | Revenue | Complexity of compensation and settlement arrangements for rooftop PV exports or bill credits. | Simple and predictable settlement (e.g., straightforward FiT or netting). | Mostly standardized settlement with limited complexity. | Multiple contractual or tariff steps materially affect settlement. | Highly complex settlement involving market exposure, layered contracts, or difficult bill reconciliation. | Captures whether monetization depends on complicated billing or market arrangements.
D | Policy uncertainty friction | Revenue | Degree of uncertainty regarding the stability, continuity, or future terms of rooftop PV compensation and export rules. | Stable long-term policy with clear continuation horizon. | Mostly stable framework with limited uncertainty. | Meaningful uncertainty due to reform risk or short policy horizons. | High uncertainty due to active reform, marketization, or unstable support mechanisms. | Captures how predictable future rooftop PV revenue streams are.
E | Small-system approval friction | Administrative | Ease of obtaining approval for small rooftop PV systems, especially residential systems. | Clear simplified path or self-issue route for small systems. | Mostly simple approval process, with some documentation requirements. | Formal approval remains necessary and simplification is limited. | No meaningful simplification; small systems face full approval burden. | Designed to distinguish jurisdictions with streamlined residential permitting from those without.
F | Building/planning approval friction | Administrative | Extent of building, planning, heritage, fire, or land-use approvals required beyond a basic electrical connection. | Minimal additional building/planning review in ordinary cases. | Some additional review only for specific conditions (e.g., heritage, structural change). | Routine administrative review or filing is typically required. | Multi-agency or substantial building/planning review is commonly required. | Captures urban-form and building-governance barriers beyond pure energy regulation.
G | Grid study/fee friction | Administrative | Presence of interconnection fees, technical studies, utility inspections, or network-access hurdles. | No material fee or study burden for typical rooftop systems. | Light utility processing or limited technical checks. | Meaningful fees, studies, or multiple utility steps for many systems. | Heavy study requirements, high fees, or substantial interconnection burden. | Reflects utility-facing transaction costs and soft costs.
H | Professional credential friction | Administrative | Degree to which certified installers, licensed engineers, or formally recognized service providers are required. | No unusual credential requirement beyond normal electrical practice. | Some certified participation is advisable or needed in limited cases. | Certified or licensed professionals are routinely required. | Multiple formal credentials, recognized intermediaries, or tightly restricted installer channels are required. | Captures labor-market and procedural gatekeeping.

## 05_table_s2_roofsize_building_c
city | city_key | roof_size_bin | bin_left_m2 | bin_right_m2 | building_class | building_class_key | roof_area_m2 | pv_area_m2 | pv_utilization_pct | building_count | low_count_cell | min_cell_building_threshold
Vienna | vienna | 0-50 | 0 | 50 | Single-Residential | single-residential | 958971.8457 | 8345.1097 | 0.87021 | 48940 | False | 50
Vienna | vienna | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 661822.5933 | 6200.1005 | 0.93682 | 36059 | False | 50
Vienna | vienna | 0-50 | 0 | 50 | Commercial | commercial | 39229.8159 | 272.9243 | 0.69571 | 2073 | False | 50
Vienna | vienna | 0-50 | 0 | 50 | Industrial | industrial | 25609.6972 | 16.7549 | 0.065424 | 1149 | False | 50
Vienna | vienna | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 5728.1973 | 37.3928 | 0.65279 | 232 | False | 50
Vienna | vienna | 0-50 | 0 | 50 | Others | others | 121540.3188 | 305.6762 | 0.2515 | 5679 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Single-Residential | single-residential | 2170841.9195 | 48066.0921 | 2.2142 | 29003 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 1488280.8802 | 62306.9 | 4.1865 | 21518 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Commercial | commercial | 57954.0542 | 308.5097 | 0.53233 | 820 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Industrial | industrial | 33212.8146 | 58.7173 | 0.17679 | 467 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 8844.6341 | 20.7013 | 0.23405 | 124 | False | 50
Vienna | vienna | 50-100 | 50 | 100 | Others | others | 159150.8134 | 1893.2822 | 1.1896 | 2172 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Single-Residential | single-residential | 4908634.8537 | 139458.9716 | 2.8411 | 34469 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 897816.4701 | 12987.969 | 1.4466 | 5860 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Commercial | commercial | 120253.0829 | 966.6175 | 0.80382 | 818 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Industrial | industrial | 66360.6552 | 738.2422 | 1.1125 | 462 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 18541.5462 | 388.1511 | 2.0934 | 128 | False | 50
Vienna | vienna | 100-200 | 100 | 200 | Others | others | 371788.5616 | 5649.6445 | 1.5196 | 2511 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Single-Residential | single-residential | 5372552.0023 | 81468.5191 | 1.5164 | 18331 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 5729723.1337 | 23123.6161 | 0.40357 | 17793 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Commercial | commercial | 616726.6382 | 12267.715 | 1.9892 | 1802 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Industrial | industrial | 198101.9876 | 3882.5232 | 1.9599 | 619 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 141741.0688 | 1532.2159 | 1.081 | 403 | False | 50
Vienna | vienna | 200-500 | 200 | 500 | Others | others | 2513041.5874 | 19683.3823 | 0.78325 | 7250 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 2151992.805 | 43748.1569 | 2.0329 | 3215 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 2971927.1849 | 23363.6547 | 0.78614 | 4536 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Commercial | commercial | 909313.5595 | 28740.0006 | 3.1606 | 1297 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Industrial | industrial | 300904.1982 | 14512.0177 | 4.8228 | 414 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 324830.1455 | 6379.6927 | 1.964 | 449 | False | 50
Vienna | vienna | 500-1000 | 500 | 1000 | Others | others | 2975731.0489 | 39701.6046 | 1.3342 | 4393 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Single-Residential | single-residential | 1909479.0107 | 66349.132 | 3.4747 | 1101 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 2147233.2754 | 28309.8274 | 1.3184 | 1237 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Commercial | commercial | 6640858.0279 | 408490.9849 | 6.1512 | 1936 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Industrial | industrial | 2715711.0962 | 188342.6122 | 6.9353 | 696 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 2640437.585 | 77109.8632 | 2.9203 | 875 | False | 50
Vienna | vienna | 1000+ | 1000 | inf | Others | others | 7830592.1932 | 311229.4989 | 3.9745 | 2966 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Single-Residential | single-residential | 443048.8067 | 1233.6849 | 0.27845 | 17444 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 204798.2406 | 439.6735 | 0.21469 | 9521 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Commercial | commercial | 219244.826 | 344.9469 | 0.15733 | 11150 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Industrial | industrial | 57179.1642 | 62.0369 | 0.1085 | 2380 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 40314.3635 | 60.5104 | 0.1501 | 1722 | False | 50
Bratislava | bratislava | 0-50 | 0 | 50 | Others | others | 72861.9788 | 254.105 | 0.34875 | 2949 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Single-Residential | single-residential | 830719.7392 | 6356.2025 | 0.76514 | 10970 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 125678.1803 | 947.4085 | 0.75384 | 1723 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Commercial | commercial | 62953.4262 | 299.2309 | 0.47532 | 868 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Industrial | industrial | 72550.166 | 329.3577 | 0.45397 | 1014 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 53366.4384 | 172.6067 | 0.32344 | 736 | False | 50
Bratislava | bratislava | 50-100 | 50 | 100 | Others | others | 80723.1092 | 546.7493 | 0.67731 | 1131 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Single-Residential | single-residential | 1989269.6641 | 21090.4759 | 1.0602 | 14604 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 460095.1339 | 1505.204 | 0.32715 | 2851 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Commercial | commercial | 135568.4487 | 1647.1393 | 1.215 | 940 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Industrial | industrial | 129814.3972 | 1028.5821 | 0.79235 | 901 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 102419.5906 | 355.8742 | 0.34747 | 706 | False | 50
Bratislava | bratislava | 100-200 | 100 | 200 | Others | others | 95691.6043 | 1343.8498 | 1.4044 | 694 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Single-Residential | single-residential | 846327.6909 | 11808.2673 | 1.3952 | 3108 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 1487711.8239 | 2462.6885 | 0.16554 | 4694 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Commercial | commercial | 498249.5672 | 5567.0081 | 1.1173 | 1527 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Industrial | industrial | 420927.4083 | 4112.7201 | 0.97706 | 1280 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 393384.6167 | 1503.5508 | 0.38221 | 1175 | False | 50
Bratislava | bratislava | 200-500 | 200 | 500 | Others | others | 102454.6885 | 708.925 | 0.69194 | 340 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 231756.286 | 2031.1599 | 0.87642 | 344 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 677732.2932 | 2343.2777 | 0.34575 | 986 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Commercial | commercial | 732994.8025 | 6895.6293 | 0.94075 | 1032 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Industrial | industrial | 613695.5723 | 5465.4628 | 0.89058 | 882 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 672879.675 | 4637.4041 | 0.68919 | 958 | False | 50
Bratislava | bratislava | 500-1000 | 500 | 1000 | Others | others | 83138.9024 | 607.1997 | 0.73034 | 116 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Single-Residential | single-residential | 229979.5919 | 1292.176 | 0.56187 | 126 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 709225.8878 | 2362.6353 | 0.33313 | 412 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Commercial | commercial | 3471262.8672 | 43756.5242 | 1.2605 | 1128 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Industrial | industrial | 2496447.4041 | 20742.0517 | 0.83086 | 618 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 1784597.7018 | 12843.7147 | 0.7197 | 812 | False | 50
Bratislava | bratislava | 1000+ | 1000 | inf | Others | others | 180477.5407 | 1235.0341 | 0.68431 | 64 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Single-Residential | single-residential | 770672.0217 | 10736.6039 | 1.3931 | 28950 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 26307.6693 | 183.387 | 0.69709 | 886 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Commercial | commercial | 97396.5732 | 570.7894 | 0.58605 | 3689 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Industrial | industrial | 458020.3777 | 7352.9632 | 1.6054 | 17991 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 213886.8701 | 1109.6727 | 0.51881 | 8055 | False | 50
Singapore | singapore | 0-50 | 0 | 50 | Others | others | 806619.8372 | 6563.1778 | 0.81366 | 32111 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Single-Residential | single-residential | 1447576.3589 | 13140.7935 | 0.90778 | 19370 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 128242.7672 | 449.7926 | 0.35074 | 1611 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Commercial | commercial | 212983.2306 | 67.8887 | 0.031875 | 2818 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Industrial | industrial | 498707.4338 | 9094.8873 | 1.8237 | 6992 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 274320.7512 | 1283.192 | 0.46777 | 3829 | False | 50
Singapore | singapore | 50-100 | 50 | 100 | Others | others | 849152.5379 | 6285.147 | 0.74017 | 11859 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Single-Residential | single-residential | 4613795.1075 | 51192.4392 | 1.1096 | 33106 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 430783.8738 | 3023.5857 | 0.70188 | 3093 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Commercial | commercial | 620637.5941 | 1972.4173 | 0.3178 | 4575 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Industrial | industrial | 799733.4039 | 22009.2957 | 2.7521 | 5615 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 407443.4308 | 2480.5808 | 0.60882 | 2880 | False | 50
Singapore | singapore | 100-200 | 100 | 200 | Others | others | 1393476.266 | 4886.9426 | 0.3507 | 9902 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Single-Residential | single-residential | 6631570.0959 | 85017.246 | 1.282 | 21544 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 476608.8139 | 3370.8983 | 0.70727 | 1556 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Commercial | commercial | 562592.5719 | 4817.0583 | 0.85623 | 1774 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Industrial | industrial | 1587768.54 | 79679.0378 | 5.0183 | 5021 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 865038.6486 | 9143.3911 | 1.057 | 2708 | False | 50
Singapore | singapore | 200-500 | 200 | 500 | Others | others | 2412207.1664 | 34822.5376 | 1.4436 | 7622 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 6166139.8894 | 147087.8055 | 2.3854 | 8597 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 992139.9311 | 41181.9088 | 4.1508 | 1351 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Commercial | commercial | 762816.6951 | 14049.8903 | 1.8418 | 1067 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Industrial | industrial | 1838196.9582 | 89193.299 | 4.8522 | 2570 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 1167826.1321 | 33632.5396 | 2.8799 | 1641 | False | 50
Singapore | singapore | 500-1000 | 500 | 1000 | Others | others | 2821288.1122 | 86822.6616 | 3.0774 | 3963 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Single-Residential | single-residential | 13548336.1733 | 949774.7336 | 7.0103 | 8111 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 2475617.5268 | 221356.1275 | 8.9415 | 1482 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Commercial | commercial | 9601733.4529 | 762736.1237 | 7.9437 | 2441 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Industrial | industrial | 16257655.3905 | 2246009.4162 | 13.8151 | 4715 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 8916101.0499 | 652055.3342 | 7.3132 | 2563 | False | 50
Singapore | singapore | 1000+ | 1000 | inf | Others | others | 20100764.1666 | 2489193.3888 | 12.3836 | 6011 | False | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Single-Residential | single-residential | 2574453.8047 | 2553.0243 | 0.099168 | 94688 | False | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 597.7705 | 0 | 0 | 24 | True | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Commercial | commercial | 47119.2072 | 33.6285 | 0.071369 | 1803 | False | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Industrial | industrial | 480339.9364 | 1305.8538 | 0.27186 | 18130 | False | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 79550.2177 | 278.2254 | 0.34975 | 3140 | False | 50
Johor Bahru | johorbahru | 0-50 | 0 | 50 | Others | others | 2258522.7604 | 2510.3623 | 0.11115 | 85747 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Single-Residential | single-residential | 4895105.8258 | 7349.9806 | 0.15015 | 63964 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 18567.8867 | 0 | 0 | 229 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Commercial | commercial | 71179.8466 | 139.6406 | 0.19618 | 949 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Industrial | industrial | 617951.8641 | 2016.2477 | 0.32628 | 8585 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 100948.102 | 50.0876 | 0.049617 | 1399 | False | 50
Johor Bahru | johorbahru | 50-100 | 50 | 100 | Others | others | 2737046.8018 | 4616.7545 | 0.16868 | 37382 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Single-Residential | single-residential | 12462785.0235 | 37713.7516 | 0.30261 | 92867 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 85221.657 | 135.0432 | 0.15846 | 585 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Commercial | commercial | 945692.5185 | 1782.0594 | 0.18844 | 6247 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Industrial | industrial | 1041028.8277 | 13089.935 | 1.2574 | 7195 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 156733.5956 | 502.3752 | 0.32053 | 1090 | False | 50
Johor Bahru | johorbahru | 100-200 | 100 | 200 | Others | others | 5575112.7758 | 11167.9208 | 0.20032 | 39824 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Single-Residential | single-residential | 10317271.4359 | 31908.8278 | 0.30928 | 35263 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 73373.5914 | 1343.7161 | 1.8313 | 214 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Commercial | commercial | 496543.6354 | 2598.8642 | 0.52339 | 1666 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Industrial | industrial | 1987672.6827 | 14257.9122 | 0.71732 | 6501 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 389492.6713 | 580.087 | 0.14893 | 1226 | False | 50
Johor Bahru | johorbahru | 200-500 | 200 | 500 | Others | others | 7177134.4976 | 19115.7462 | 0.26634 | 24374 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 4315646.6146 | 8044.9789 | 0.18641 | 6238 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 358176.5326 | 440.5303 | 0.12299 | 477 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Commercial | commercial | 363488.3708 | 6377.5203 | 1.7545 | 514 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Industrial | industrial | 1920795.5993 | 29913.8377 | 1.5574 | 2725 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 731463.095 | 1529.9699 | 0.20917 | 1034 | False | 50
Johor Bahru | johorbahru | 500-1000 | 500 | 1000 | Others | others | 3793117.6592 | 14637.8372 | 0.38591 | 5537 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Single-Residential | single-residential | 7045252.8503 | 21511.1525 | 0.30533 | 3963 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 2313861.096 | 4474.8646 | 0.19339 | 1322 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Commercial | commercial | 3804428.42 | 198941.4779 | 5.2292 | 1276 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Industrial | industrial | 13361276.9282 | 725077.6233 | 5.4267 | 3729 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 1412670.9141 | 16973.7944 | 1.2015 | 568 | False | 50
Johor Bahru | johorbahru | 1000+ | 1000 | inf | Others | others | 6998636.7686 | 122361.5395 | 1.7484 | 3383 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Single-Residential | single-residential | 1402145.949 | 5410.4831 | 0.38587 | 54956 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 53040.7048 | 435.1078 | 0.82033 | 1795 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Commercial | commercial | 84256.1543 | 260.0816 | 0.30868 | 3352 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Industrial | industrial | 106718.9577 | 1106.9297 | 1.0372 | 4214 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 200932.4801 | 1112.1431 | 0.55349 | 7821 | False | 50
San Diego | sandiego | 0-50 | 0 | 50 | Others | others | 1364758.4603 | 6330.9252 | 0.46389 | 56958 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Single-Residential | single-residential | 1256390.0597 | 11298.4331 | 0.89928 | 17530 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 179222.1248 | 850.9131 | 0.47478 | 2496 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Commercial | commercial | 90270.7109 | 1871.7439 | 2.0735 | 1267 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Industrial | industrial | 86262.7441 | 1541.2324 | 1.7867 | 1275 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 182973.5527 | 4244.8416 | 2.3199 | 2570 | False | 50
San Diego | sandiego | 50-100 | 50 | 100 | Others | others | 2181942.9723 | 16288.2325 | 0.7465 | 29573 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Single-Residential | single-residential | 8964933.1851 | 220907.3413 | 2.4641 | 55587 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 288710.4482 | 3243.9877 | 1.1236 | 2007 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Commercial | commercial | 200318.5113 | 4154.479 | 2.0739 | 1349 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Industrial | industrial | 98830.1482 | 603.6522 | 0.6108 | 712 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 395916.6933 | 15896.1772 | 4.015 | 2947 | False | 50
San Diego | sandiego | 100-200 | 100 | 200 | Others | others | 13424901.9251 | 280163.203 | 2.0869 | 86520 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Single-Residential | single-residential | 23142951.2123 | 802842.6751 | 3.4691 | 88694 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 936425.7261 | 16629.9191 | 1.7759 | 2837 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Commercial | commercial | 822573.762 | 24592.4428 | 2.9897 | 2602 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Industrial | industrial | 188957.5414 | 3850.9504 | 2.038 | 603 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 916292.3221 | 54535.4972 | 5.9518 | 2829 | False | 50
San Diego | sandiego | 200-500 | 200 | 500 | Others | others | 27046432.8604 | 724521.9989 | 2.6788 | 99583 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 3273849.7534 | 44795.7139 | 1.3683 | 4954 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 684860.848 | 4965.7796 | 0.72508 | 981 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Commercial | commercial | 1022415.7262 | 20431.884 | 1.9984 | 1429 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Industrial | industrial | 258246.0064 | 4917.6483 | 1.9042 | 338 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 928516.6669 | 86001.5946 | 9.2623 | 1331 | False | 50
San Diego | sandiego | 500-1000 | 500 | 1000 | Others | others | 5588312.0082 | 109322.0013 | 1.9563 | 8297 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Single-Residential | single-residential | 1570976.7722 | 19144.3595 | 1.2186 | 831 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 1207416.18 | 25164.2351 | 2.0841 | 463 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Commercial | commercial | 9012060.9292 | 283210.1615 | 3.1426 | 2537 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Industrial | industrial | 3197117.6869 | 95905.2106 | 2.9997 | 934 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 5482247.8179 | 167967.64 | 3.0638 | 1705 | False | 50
San Diego | sandiego | 1000+ | 1000 | inf | Others | others | 10924662.0363 | 268550.8749 | 2.4582 | 4180 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Single-Residential | single-residential | 17526723.0435 | 13221.0269 | 0.075434 | 899421 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 4907.9211 | 0 | 0 | 1923 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Commercial | commercial | 328718.0246 | 1096.095 | 0.33345 | 18757 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Industrial | industrial | 277158.1486 | 1171.1676 | 0.42256 | 14853 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 31682.2712 | 0 | 0 | 1232 | False | 50
Tijuana | tijuana | 0-50 | 0 | 50 | Others | others | 2827971.7316 | 2926.8388 | 0.1035 | 122564 | False | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Single-Residential | single-residential | 14731211.6991 | 16920.184 | 0.11486 | 211456 | False | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 388.8479 | 0 | 0 | 5 | True | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Commercial | commercial | 408714.5843 | 1108.936 | 0.27132 | 5694 | False | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Industrial | industrial | 280927.6594 | 495.1139 | 0.17624 | 4019 | False | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 46536.867 | 39.6811 | 0.085268 | 653 | False | 50
Tijuana | tijuana | 50-100 | 50 | 100 | Others | others | 2643148.4546 | 4824.138 | 0.18251 | 37883 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Single-Residential | single-residential | 8975048.205 | 19978.7246 | 0.2226 | 69374 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 20818.8423 | 95.0361 | 0.45649 | 162 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Commercial | commercial | 599785.1745 | 2363.9563 | 0.39413 | 4268 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Industrial | industrial | 346028.8735 | 848.2595 | 0.24514 | 2500 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 107142.2013 | 43.4688 | 0.040571 | 741 | False | 50
Tijuana | tijuana | 100-200 | 100 | 200 | Others | others | 2371935.8267 | 7809.872 | 0.32926 | 17564 | False | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Single-Residential | single-residential | 2040050.1364 | 7100.9397 | 0.34808 | 7740 | False | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 12109.6421 | 2.2126 | 0.018271 | 35 | True | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Commercial | commercial | 777216.6837 | 4535.9 | 0.58361 | 2587 | False | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Industrial | industrial | 594266.7461 | 1910.9004 | 0.32156 | 1879 | False | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 305647.526 | 1063.8986 | 0.34808 | 930 | False | 50
Tijuana | tijuana | 200-500 | 200 | 500 | Others | others | 1774071.1676 | 8589.596 | 0.48417 | 6104 | False | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 321905.8222 | 913.1312 | 0.28366 | 488 | False | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 30089.9965 | 613.5849 | 2.0392 | 43 | True | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Commercial | commercial | 453038.3615 | 4757.9137 | 1.0502 | 652 | False | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Industrial | industrial | 628789.3958 | 11021.5554 | 1.7528 | 871 | False | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 223845.3259 | 163.1806 | 0.072899 | 337 | False | 50
Tijuana | tijuana | 500-1000 | 500 | 1000 | Others | others | 735270.7126 | 5717.382 | 0.77759 | 1081 | False | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Single-Residential | single-residential | 377450.8668 | 6899.2899 | 1.8279 | 166 | False | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 52935.461 | 999.0613 | 1.8873 | 28 | True | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Commercial | commercial | 1705916.8364 | 57581.8722 | 3.3754 | 458 | False | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Industrial | industrial | 6801681.7262 | 123832.2848 | 1.8206 | 1412 | False | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 295208.8642 | 2846.8695 | 0.96436 | 164 | False | 50
Tijuana | tijuana | 1000+ | 1000 | inf | Others | others | 3209328.4299 | 116774.5324 | 3.6386 | 841 | False | 50
El Paso | elpaso | 0-50 | 0 | 50 | Single-Residential | single-residential | 136295.9664 | 461.6368 | 0.3387 | 6112 | False | 50
El Paso | elpaso | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 917.9974 | 0 | 0 | 39 | True | 50
El Paso | elpaso | 0-50 | 0 | 50 | Commercial | commercial | 16954.5516 | 118.8082 | 0.70075 | 708 | False | 50
El Paso | elpaso | 0-50 | 0 | 50 | Industrial | industrial | 30880.2518 | 127.1483 | 0.41175 | 1180 | False | 50
El Paso | elpaso | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 15283.326 | 0 | 0 | 632 | False | 50
El Paso | elpaso | 0-50 | 0 | 50 | Others | others | 1677624.0218 | 2590.4328 | 0.15441 | 71475 | False | 50
El Paso | elpaso | 50-100 | 50 | 100 | Single-Residential | single-residential | 118486.2676 | 281.8936 | 0.23791 | 1669 | False | 50
El Paso | elpaso | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 510.0247 | 0 | 0 | 7 | True | 50
El Paso | elpaso | 50-100 | 50 | 100 | Commercial | commercial | 18109.6079 | 47.0357 | 0.25973 | 255 | False | 50
El Paso | elpaso | 50-100 | 50 | 100 | Industrial | industrial | 35713.7295 | 105.1683 | 0.29448 | 517 | False | 50
El Paso | elpaso | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 70606.8173 | 212.0788 | 0.30037 | 854 | False | 50
El Paso | elpaso | 50-100 | 50 | 100 | Others | others | 1692457.875 | 5746.9071 | 0.33956 | 23562 | False | 50
El Paso | elpaso | 100-200 | 100 | 200 | Single-Residential | single-residential | 1910499.8391 | 14086.0155 | 0.73729 | 11616 | False | 50
El Paso | elpaso | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 2710.0422 | 70.8636 | 2.6149 | 19 | True | 50
El Paso | elpaso | 100-200 | 100 | 200 | Commercial | commercial | 42392.8276 | 297.3268 | 0.70136 | 280 | False | 50
El Paso | elpaso | 100-200 | 100 | 200 | Industrial | industrial | 38145.3586 | 543.0391 | 1.4236 | 263 | False | 50
El Paso | elpaso | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 45402.3378 | 100.5264 | 0.22141 | 323 | False | 50
El Paso | elpaso | 100-200 | 100 | 200 | Others | others | 12629679.8247 | 70854.8847 | 0.56102 | 79362 | False | 50
El Paso | elpaso | 200-500 | 200 | 500 | Single-Residential | single-residential | 3629467.1922 | 31006.4784 | 0.8543 | 13971 | False | 50
El Paso | elpaso | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 16999.632 | 0 | 0 | 45 | True | 50
El Paso | elpaso | 200-500 | 200 | 500 | Commercial | commercial | 250212.6903 | 1206.3257 | 0.48212 | 749 | False | 50
El Paso | elpaso | 200-500 | 200 | 500 | Industrial | industrial | 93143.0448 | 18.5602 | 0.019927 | 291 | False | 50
El Paso | elpaso | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 80851.6093 | 410.2462 | 0.50741 | 242 | False | 50
El Paso | elpaso | 200-500 | 200 | 500 | Others | others | 25017499.8831 | 175931.2658 | 0.70323 | 90791 | False | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 428845.9905 | 534.8598 | 0.12472 | 625 | False | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 18634.4942 | 0 | 0 | 27 | True | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Commercial | commercial | 371546.77 | 796.8114 | 0.21446 | 527 | False | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Industrial | industrial | 140778.5154 | 0 | 0 | 199 | False | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 122767.7197 | 352.3859 | 0.28703 | 172 | False | 50
El Paso | elpaso | 500-1000 | 500 | 1000 | Others | others | 3585894.0068 | 16619.5966 | 0.46347 | 5372 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Single-Residential | single-residential | 145373.9088 | 208.8187 | 0.14364 | 95 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 167785.8245 | 328.8542 | 0.196 | 81 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Commercial | commercial | 2649233.0767 | 14213.1792 | 0.5365 | 613 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Industrial | industrial | 1584459.9017 | 477.0266 | 0.030107 | 299 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 1971501.817 | 2621.0619 | 0.13295 | 446 | False | 50
El Paso | elpaso | 1000+ | 1000 | inf | Others | others | 7501515.8282 | 25065.1316 | 0.33413 | 2602 | False | 50
Juarez | juarez | 0-50 | 0 | 50 | Single-Residential | single-residential | 1136320.7517 | 5624.798 | 0.495 | 39946 | False | 50
Juarez | juarez | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 446.5234 | 29.1624 | 6.531 | 15 | True | 50
Juarez | juarez | 0-50 | 0 | 50 | Commercial | commercial | 61621.1462 | 291.6602 | 0.47331 | 2375 | False | 50
Juarez | juarez | 0-50 | 0 | 50 | Industrial | industrial | 119693.5043 | 306.0249 | 0.25567 | 4390 | False | 50
Juarez | juarez | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 23772.5813 | 0 | 0 | 922 | False | 50
Juarez | juarez | 0-50 | 0 | 50 | Others | others | 9599578.1476 | 14095.3639 | 0.14683 | 329553 | False | 50
Juarez | juarez | 50-100 | 50 | 100 | Single-Residential | single-residential | 1993512.0195 | 19472.3179 | 0.97678 | 27631 | False | 50
Juarez | juarez | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 1621.5387 | 0 | 0 | 22 | True | 50
Juarez | juarez | 50-100 | 50 | 100 | Commercial | commercial | 69081.7481 | 365.3901 | 0.52892 | 974 | False | 50
Juarez | juarez | 50-100 | 50 | 100 | Industrial | industrial | 118418.4871 | 733.6405 | 0.61953 | 1728 | False | 50
Juarez | juarez | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 38295.337 | 19.1819 | 0.050089 | 539 | False | 50
Juarez | juarez | 50-100 | 50 | 100 | Others | others | 14326813.5561 | 27570.0959 | 0.19244 | 203134 | False | 50
Juarez | juarez | 100-200 | 100 | 200 | Single-Residential | single-residential | 1784120.3129 | 27164.1538 | 1.5226 | 13484 | False | 50
Juarez | juarez | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 1466.4003 | 0 | 0 | 10 | True | 50
Juarez | juarez | 100-200 | 100 | 200 | Commercial | commercial | 107191.5932 | 1655.609 | 1.5445 | 756 | False | 50
Juarez | juarez | 100-200 | 100 | 200 | Industrial | industrial | 124392.5637 | 539.6439 | 0.43382 | 892 | False | 50
Juarez | juarez | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 76925.9747 | 127.7711 | 0.1661 | 526 | False | 50
Juarez | juarez | 100-200 | 100 | 200 | Others | others | 14120527.7214 | 45078.7675 | 0.31924 | 104598 | False | 50
Juarez | juarez | 200-500 | 200 | 500 | Single-Residential | single-residential | 1047167.2733 | 24358.1069 | 2.3261 | 3626 | False | 50
Juarez | juarez | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 2606.0482 | 24.4254 | 0.93726 | 8 | True | 50
Juarez | juarez | 200-500 | 200 | 500 | Commercial | commercial | 264940.8386 | 2803.9487 | 1.0583 | 835 | False | 50
Juarez | juarez | 200-500 | 200 | 500 | Industrial | industrial | 171749.9479 | 3900.8711 | 2.2713 | 568 | False | 50
Juarez | juarez | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 266729.2495 | 1971.3827 | 0.7391 | 824 | False | 50
Juarez | juarez | 200-500 | 200 | 500 | Others | others | 9329724.8701 | 54541.1538 | 0.5846 | 32335 | False | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 374101.7355 | 7215.4567 | 1.9287 | 553 | False | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 5173.0882 | 54.7022 | 1.0574 | 8 | True | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Commercial | commercial | 236780.7493 | 6241.7523 | 2.6361 | 340 | False | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Industrial | industrial | 118864.7481 | 1322.8338 | 1.1129 | 174 | False | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 188610.2954 | 2691.1361 | 1.4268 | 291 | False | 50
Juarez | juarez | 500-1000 | 500 | 1000 | Others | others | 3526025.0233 | 31204.7557 | 0.88498 | 5253 | False | 50
Juarez | juarez | 1000+ | 1000 | inf | Single-Residential | single-residential | 476258.4421 | 4539.2462 | 0.95311 | 192 | False | 50
Juarez | juarez | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 23486.9583 | 3201.2946 | 13.6301 | 10 | True | 50
Juarez | juarez | 1000+ | 1000 | inf | Commercial | commercial | 1574356.6574 | 62951.0998 | 3.9985 | 384 | False | 50
Juarez | juarez | 1000+ | 1000 | inf | Industrial | industrial | 6705931.0638 | 122514.6469 | 1.827 | 627 | False | 50
Juarez | juarez | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 364219.6092 | 19338.2454 | 5.3095 | 135 | False | 50
Juarez | juarez | 1000+ | 1000 | inf | Others | others | 5643855.6752 | 71551.9668 | 1.2678 | 2079 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Single-Residential | single-residential | 2036383.5897 | 21731.2516 | 1.0671 | 73287 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 825725.4416 | 15372.2037 | 1.8617 | 30807 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Commercial | commercial | 40254.3941 | 359.9978 | 0.89431 | 1498 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Industrial | industrial | 132502.6998 | 1438.9124 | 1.0859 | 5236 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 1514948.4749 | 11571.49 | 0.76382 | 64608 | False | 50
Hong Kong | hongkong | 0-50 | 0 | 50 | Others | others | 468989.4408 | 2454.1128 | 0.52328 | 18684 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Single-Residential | single-residential | 4430745.6278 | 181429.4687 | 4.0948 | 67417 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 1359834.7975 | 13573.912 | 0.9982 | 19597 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Commercial | commercial | 129640.2727 | 694.6158 | 0.5358 | 1800 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Industrial | industrial | 175207.8994 | 3895.6867 | 2.2235 | 2465 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 1600900.8749 | 20433.1432 | 1.2764 | 23008 | False | 50
Hong Kong | hongkong | 50-100 | 50 | 100 | Others | others | 777262.5472 | 13867.0665 | 1.7841 | 11112 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Single-Residential | single-residential | 1037723.468 | 17313.8448 | 1.6684 | 7627 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 1324095.7087 | 6093.1228 | 0.46017 | 9530 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Commercial | commercial | 236350.0137 | 1889.9603 | 0.79964 | 1632 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Industrial | industrial | 273437.6874 | 5198.7894 | 1.9013 | 1907 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 1588957.1526 | 15667.8111 | 0.98604 | 11483 | False | 50
Hong Kong | hongkong | 100-200 | 100 | 200 | Others | others | 877269.4981 | 10336.8406 | 1.1783 | 6171 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Single-Residential | single-residential | 1245907.8002 | 8927.5696 | 0.71655 | 4067 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 3160556.8141 | 14871.9956 | 0.47055 | 9592 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Commercial | commercial | 665236.8103 | 3941.8795 | 0.59255 | 2097 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Industrial | industrial | 527733.2517 | 18287.6295 | 3.4653 | 1671 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 2122195.9151 | 29689.2387 | 1.399 | 6925 | False | 50
Hong Kong | hongkong | 200-500 | 200 | 500 | Others | others | 1879423.5917 | 23005.3729 | 1.2241 | 5902 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 836017.8865 | 9515.0402 | 1.1381 | 1226 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 3172060.3211 | 21802.0785 | 0.68732 | 4761 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Commercial | commercial | 662795.7258 | 5088.3777 | 0.76771 | 948 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Industrial | industrial | 701076.503 | 35230.4417 | 5.0252 | 955 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 1769865.0703 | 39118.7118 | 2.2103 | 2517 | False | 50
Hong Kong | hongkong | 500-1000 | 500 | 1000 | Others | others | 1881880.0471 | 23440.0332 | 1.2456 | 2685 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Single-Residential | single-residential | 3501582.1023 | 17890.1258 | 0.51092 | 1174 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 12101911.0328 | 65498.1457 | 0.54122 | 3319 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Commercial | commercial | 4767980.8385 | 92740.1288 | 1.9451 | 1333 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Industrial | industrial | 4355962.6645 | 293604.8224 | 6.7403 | 1462 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 6183007.4831 | 133323.3324 | 2.1563 | 2464 | False | 50
Hong Kong | hongkong | 1000+ | 1000 | inf | Others | others | 9701406.1452 | 279998.458 | 2.8862 | 2814 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Single-Residential | single-residential | 10233.209 | 0 | 0 | 304 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 11499.7591 | 312.0637 | 2.7137 | 445 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Commercial | commercial | 4256.3867 | 0 | 0 | 176 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Industrial | industrial | 3971.6318 | 0 | 0 | 185 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 1608.6557 | 0 | 0 | 62 | False | 50
Shenzhen | shenzhen | 0-50 | 0 | 50 | Others | others | 9142.532 | 5.9053 | 0.064592 | 321 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Single-Residential | single-residential | 168816.774 | 229.5577 | 0.13598 | 2044 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 76707.4257 | 62.3682 | 0.081307 | 905 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Commercial | commercial | 5222.0392 | 41.6559 | 0.79769 | 68 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Industrial | industrial | 13262.2577 | 0 | 0 | 183 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 6088.5446 | 0 | 0 | 82 | False | 50
Shenzhen | shenzhen | 50-100 | 50 | 100 | Others | others | 48836.8217 | 328.1073 | 0.67184 | 609 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Single-Residential | single-residential | 991210.4148 | 1084.0131 | 0.10936 | 7003 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 1491766.9791 | 1986.2968 | 0.13315 | 10660 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Commercial | commercial | 44763.6196 | 56.7357 | 0.12675 | 270 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Industrial | industrial | 45965.507 | 445.1298 | 0.9684 | 296 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 22113.1179 | 0 | 0 | 146 | False | 50
Shenzhen | shenzhen | 100-200 | 100 | 200 | Others | others | 178900.0314 | 798.1781 | 0.44616 | 1275 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Single-Residential | single-residential | 1272356.0766 | 2465.9835 | 0.19381 | 4005 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 2609083.8477 | 10867.0094 | 0.41651 | 7249 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Commercial | commercial | 197201.2412 | 1761.9454 | 0.89348 | 553 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Industrial | industrial | 699480.5374 | 8162.0098 | 1.1669 | 1899 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 128914.9143 | 989.0907 | 0.76724 | 364 | False | 50
Shenzhen | shenzhen | 200-500 | 200 | 500 | Others | others | 559692.0427 | 4441.9499 | 0.79364 | 1668 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 1420734.8959 | 3592.5796 | 0.25287 | 2018 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 5877649.8397 | 31492.7572 | 0.53581 | 8437 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Commercial | commercial | 896305.2237 | 10911.8247 | 1.2174 | 1184 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Industrial | industrial | 2619872.0515 | 36143.5111 | 1.3796 | 3495 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 531016.7557 | 11001.697 | 2.0718 | 709 | False | 50
Shenzhen | shenzhen | 500-1000 | 500 | 1000 | Others | others | 1088411.3306 | 11937.267 | 1.0968 | 1516 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Single-Residential | single-residential | 2372398.0036 | 7929.1797 | 0.33423 | 802 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 10341990.3453 | 128161.4475 | 1.2392 | 4241 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Commercial | commercial | 16982741.8253 | 246455.394 | 1.4512 | 3866 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Industrial | industrial | 22119251.7763 | 1660012.2738 | 7.5048 | 7251 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 8111520.0036 | 86186.8227 | 1.0625 | 1946 | False | 50
Shenzhen | shenzhen | 1000+ | 1000 | inf | Others | others | 9319564.9495 | 265936.0229 | 2.8535 | 2367 | False | 50
Monaco | monaco | 0-50 | 0 | 50 | Single-Residential | single-residential | 606.683 | 0 | 0 | 25 | True | 50
Monaco | monaco | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 357.1525 | 0 | 0 | 23 | True | 50
Monaco | monaco | 0-50 | 0 | 50 | Commercial | commercial | 630.5427 | 0 | 0 | 27 | True | 50
Monaco | monaco | 0-50 | 0 | 50 | Industrial | industrial | 18.7057 | 0 | 0 | 1 | True | 50
Monaco | monaco | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 0 | 0 | 0 | 0 | True | 50
Monaco | monaco | 0-50 | 0 | 50 | Others | others | 1377.8796 | 0 | 0 | 49 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Single-Residential | single-residential | 1582.5472 | 0 | 0 | 21 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 1812.1257 | 0 | 0 | 23 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Commercial | commercial | 565.6219 | 13.9598 | 2.468 | 7 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Industrial | industrial | 0 | 0 | 0 | 0 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 182.9064 | 0 | 0 | 2 | True | 50
Monaco | monaco | 50-100 | 50 | 100 | Others | others | 4585.9047 | 0 | 0 | 60 | False | 50
Monaco | monaco | 100-200 | 100 | 200 | Single-Residential | single-residential | 8046.2148 | 0 | 0 | 54 | False | 50
Monaco | monaco | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 18075.8347 | 203.1649 | 1.124 | 114 | False | 50
Monaco | monaco | 100-200 | 100 | 200 | Commercial | commercial | 2802.1537 | 0 | 0 | 19 | True | 50
Monaco | monaco | 100-200 | 100 | 200 | Industrial | industrial | 0 | 0 | 0 | 0 | True | 50
Monaco | monaco | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 129.0906 | 0 | 0 | 1 | True | 50
Monaco | monaco | 100-200 | 100 | 200 | Others | others | 19628.7405 | 58.3536 | 0.29729 | 129 | False | 50
Monaco | monaco | 200-500 | 200 | 500 | Single-Residential | single-residential | 37557.6473 | 57.873 | 0.15409 | 116 | False | 50
Monaco | monaco | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 46852.1376 | 254.1701 | 0.54249 | 147 | False | 50
Monaco | monaco | 200-500 | 200 | 500 | Commercial | commercial | 9619.2395 | 0 | 0 | 28 | True | 50
Monaco | monaco | 200-500 | 200 | 500 | Industrial | industrial | 0 | 0 | 0 | 0 | True | 50
Monaco | monaco | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 1129.0272 | 0 | 0 | 4 | True | 50
Monaco | monaco | 200-500 | 200 | 500 | Others | others | 41652.3669 | 0 | 0 | 132 | False | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 29005.6462 | 82.7916 | 0.28543 | 41 | True | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 47424.6153 | 134.8602 | 0.28437 | 70 | False | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Commercial | commercial | 17503.8757 | 0 | 0 | 24 | True | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Industrial | industrial | 0 | 0 | 0 | 0 | True | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 6918.2181 | 101.6659 | 1.4695 | 10 | True | 50
Monaco | monaco | 500-1000 | 500 | 1000 | Others | others | 38081.1799 | 710.25 | 1.8651 | 55 | False | 50
Monaco | monaco | 1000+ | 1000 | inf | Single-Residential | single-residential | 40331.9754 | 538.8229 | 1.336 | 22 | True | 50
Monaco | monaco | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 89049.6998 | 1822.1361 | 2.0462 | 37 | True | 50
Monaco | monaco | 1000+ | 1000 | inf | Commercial | commercial | 78379.4462 | 72.9673 | 0.093095 | 32 | True | 50
Monaco | monaco | 1000+ | 1000 | inf | Industrial | industrial | 1046.6778 | 0 | 0 | 1 | True | 50
Monaco | monaco | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 39918.9341 | 362.0693 | 0.90701 | 21 | True | 50
Monaco | monaco | 1000+ | 1000 | inf | Others | others | 149380.1572 | 1379.2263 | 0.9233 | 57 | False | 50
Nice | nice | 0-50 | 0 | 50 | Single-Residential | single-residential | 122453.1277 | 203.5854 | 0.16626 | 6809 | False | 50
Nice | nice | 0-50 | 0 | 50 | Multi-Residential | multi-residential | 5004.881 | 0 | 0 | 440 | False | 50
Nice | nice | 0-50 | 0 | 50 | Commercial | commercial | 14945.1491 | 140.5997 | 0.94077 | 633 | False | 50
Nice | nice | 0-50 | 0 | 50 | Industrial | industrial | 11077.7404 | 0 | 0 | 463 | False | 50
Nice | nice | 0-50 | 0 | 50 | Public & Infrastructure | public & infrastructure | 6030.859 | 11.865 | 0.19674 | 358 | False | 50
Nice | nice | 0-50 | 0 | 50 | Others | others | 317604.3509 | 681.7878 | 0.21467 | 15429 | False | 50
Nice | nice | 50-100 | 50 | 100 | Single-Residential | single-residential | 247581.8491 | 625.4961 | 0.25264 | 3289 | False | 50
Nice | nice | 50-100 | 50 | 100 | Multi-Residential | multi-residential | 18472.8307 | 8.7989 | 0.047632 | 237 | False | 50
Nice | nice | 50-100 | 50 | 100 | Commercial | commercial | 27418.9416 | 25.3398 | 0.092417 | 372 | False | 50
Nice | nice | 50-100 | 50 | 100 | Industrial | industrial | 17445.9497 | 15.613 | 0.089494 | 244 | False | 50
Nice | nice | 50-100 | 50 | 100 | Public & Infrastructure | public & infrastructure | 7976.6527 | 0 | 0 | 112 | False | 50
Nice | nice | 50-100 | 50 | 100 | Others | others | 467623.025 | 1662.268 | 0.35547 | 6323 | False | 50
Nice | nice | 100-200 | 100 | 200 | Single-Residential | single-residential | 446668.6921 | 1494.8724 | 0.33467 | 3208 | False | 50
Nice | nice | 100-200 | 100 | 200 | Multi-Residential | multi-residential | 105505.7319 | 77.0386 | 0.073018 | 689 | False | 50
Nice | nice | 100-200 | 100 | 200 | Commercial | commercial | 61839.2031 | 163.4319 | 0.26429 | 427 | False | 50
Nice | nice | 100-200 | 100 | 200 | Industrial | industrial | 25478.7671 | 18.0704 | 0.070923 | 184 | False | 50
Nice | nice | 100-200 | 100 | 200 | Public & Infrastructure | public & infrastructure | 20672.5731 | 120.9647 | 0.58515 | 143 | False | 50
Nice | nice | 100-200 | 100 | 200 | Others | others | 923818.7643 | 4752.3866 | 0.51443 | 6594 | False | 50
Nice | nice | 200-500 | 200 | 500 | Single-Residential | single-residential | 501412.4299 | 764.8414 | 0.15254 | 1661 | False | 50
Nice | nice | 200-500 | 200 | 500 | Multi-Residential | multi-residential | 394227.4491 | 502.071 | 0.12736 | 1256 | False | 50
Nice | nice | 200-500 | 200 | 500 | Commercial | commercial | 150354.2916 | 540.9086 | 0.35976 | 475 | False | 50
Nice | nice | 200-500 | 200 | 500 | Industrial | industrial | 60342.2053 | 71.494 | 0.11848 | 195 | False | 50
Nice | nice | 200-500 | 200 | 500 | Public & Infrastructure | public & infrastructure | 59078.2892 | 947.9402 | 1.6045 | 175 | False | 50
Nice | nice | 200-500 | 200 | 500 | Others | others | 1036767.9483 | 4070.5834 | 0.39262 | 3440 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Single-Residential | single-residential | 336483.4545 | 575.074 | 0.17091 | 497 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Multi-Residential | multi-residential | 287970.3065 | 383.2616 | 0.13309 | 430 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Commercial | commercial | 144143.0744 | 673.6027 | 0.46732 | 212 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Industrial | industrial | 72161.766 | 810.3297 | 1.1229 | 101 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Public & Infrastructure | public & infrastructure | 107182.2096 | 1416.7806 | 1.3218 | 151 | False | 50
Nice | nice | 500-1000 | 500 | 1000 | Others | others | 743878.2246 | 2106.1478 | 0.28313 | 1082 | False | 50
Nice | nice | 1000+ | 1000 | inf | Single-Residential | single-residential | 282749.3637 | 425.6111 | 0.15053 | 163 | False | 50
Nice | nice | 1000+ | 1000 | inf | Multi-Residential | multi-residential | 211963.5877 | 597.0097 | 0.28166 | 134 | False | 50
Nice | nice | 1000+ | 1000 | inf | Commercial | commercial | 846584.9814 | 23060.8747 | 2.724 | 237 | False | 50
Nice | nice | 1000+ | 1000 | inf | Industrial | industrial | 184149.4506 | 9651.9086 | 5.2413 | 82 | False | 50
Nice | nice | 1000+ | 1000 | inf | Public & Infrastructure | public & infrastructure | 364009.5872 | 8168.1459 | 2.2439 | 166 | False | 50
Nice | nice | 1000+ | 1000 | inf | Others | others | 950133.8861 | 15179.3725 | 1.5976 | 487 | False | 50

## 06_table_s3_irr_match_requireme
pair | leading_city | lagging_city | leading_irr_pct | lagging_irr_pct | irr_gap_pct_point | lagging_current_export_rate_usd_per_kwh | required_export_rate_usd_per_kwh | required_export_rate_increase_usd_per_kwh | lagging_gross_capex_usd | lagging_current_capex_reduction | required_pv_subsidy_usd | required_pv_subsidy_share_of_gross | required_total_capex_reduction
US-MX-1 | San Diego | Tijuana | 14.09 | 8.33 | 5.76 | 0.119 | 0.26589 | 0.14689 | 8000 | 0.1 | 2409.307 | 0.30116 | 0.40116
US-MX-2 | Ciudad Juarez | El Paso | 10.78 | 3.7 | 7.08 | 0.02 | 0.21855 | 0.19855 | 11700 | 0.2 | 4305.4949 | 0.36799 | 0.56799
CN-HK | Shenzhen | Hong Kong | 23.31 | 13.39 | 9.92 | 0.35 | 0.81758 | 0.46758 | 12500 | 0.2 | 3956.001 | 0.31648 | 0.51648
SG-MY | Singapore | Johor Bahru | 29.8 | 16.85 | 12.95 | 0.07 | 0.31724 | 0.24724 | 5000 | 0.15 | 1773.036 | 0.35461 | 0.50461
FR-MC | Nice | Monaco | 14.42 | 12.86 | 1.56 | 0.173 | 0.23897 | 0.065967 | 13000 | 0.2 | 963.8789 | 0.074145 | 0.27414
AT-SK | Vienna | Bratislava | 15.4 | 10.05 | 5.35 | 0.173 | 0.41176 | 0.23876 | 9500 | 0.1 | 2527.4017 | 0.26604 | 0.36604

## 07_table_s4_fig3_small_n_robust
Indicator | Pearson r | Spearman rho | LOO min r | LOO max r | Directional matches
Annual income gap | 0.02 | 0.49 | -0.26 | 0.43 | 3/6
GDP per capita PPP gap | 0.03 | 0.29 | -0.29 | 0.75 | 3/6
Rent gap | -0.14 | 0.31 | -0.28 | 0.51 | 3/6
Property-price gap | -0.08 | 0.14 | -0.28 | 0.69 | 3/6
IRR gap | 0.94 | 1 | 0.93 | 0.97 | 6/6
Policy-friction advantage | 0.72 | 0.41 | 0.03 | 0.82 | 4/6
Revenue-friction advantage | 0.23 | 0.12 | -0.52 | 0.53 | 3/6
Administrative-friction advantage | 0.76 | 0.89 | 0.7 | 0.88 | 5/5

## 08_table_s5_policy_friction_rob
Pair | Baseline lower total | Revenue-only lower | Admin-only lower | Leave-one-component stable | One-point perturbation stable | Stable share
Vienna--Bratislava | C1 | C1 | C1 | 8/8 | 29/29 | 100.0%
Singapore--Johor Bahru | C1 | C1 | C1 | 8/8 | 26/26 | 100.0%
San Diego--Tijuana | C1 | C2 | C1 | 5/8 | 14/27 | 51.9%
El Paso--Juarez | C2 | C2 | Tie | 8/8 | 29/29 | 100.0%
Hong Kong--Shenzhen | C1 | C1 | C2 | 8/8 | 25/25 | 100.0%
Monaco--Nice | C1 | C1 | C2 | 8/8 | 27/27 | 100.0%

## 09_table_s6_pv_pattern_sensitiv
Pair | Sector attribute | All leader | All +/-10% stable | Res leader | Res +/-10% stable | Non-res leader | Non-res +/-10% stable | Core non-res gap pp | Core non-res same sign
Vienna--Bratislava | same-side | C1 | Y | C1 | Y | C1 | Y | 4.09 | Y
Singapore--Johor Bahru | same-side | C1 | Y | C1 | Y | C1 | Y | 5.1 | Y
San Diego--Tijuana | same-side | C1 | Y | C1 | Y | C1 | Y | 1.61 | Y
El Paso--Juarez | same-side | C2 | Y | C2 | Y | C2 | Y | -1.86 | Y
Hong Kong--Shenzhen | split | C2 | Y | C1 | Y | C2 | Y | -1.34 | Y
Monaco--Nice | split | C2 | N | C1 | Y | C2 | Y | -1.76 | Y

## 10_table_s7_economic_export_com
Pair | IRR gap SC=0.4 | IRR gap SC=0.7 | IRR gap SC=0.9 | IRR sign stable | NPV leader stable across discount/size | NPV leader range | Direct export scenario | Lagging baseline export rate | Harmonized export rate | Lagging baseline IRR | Lagging IRR after export harmonization | Leading baseline IRR | Remaining IRR gap after export harmonization
Singapore--Johor Bahru | 15.25 | 12.96 | 11.48 | Y | Y | C1 | Johor Bahru export = Singapore export | 0.07 | 0.219 | 16.84 | 24.7 | 29.8 | 5.1
El Paso--Juarez | -11.95 | -7.11 | -4.35 | Y | Y | C2 | El Paso export = Juarez export | 0.02 | 0.119 | 3.69 | 7.43 | 10.8 | 3.36

## 11_table_s7_economic_sensitivit
Pair | IRR gap SC=0.4 | IRR gap SC=0.7 | IRR gap SC=0.9 | IRR sign stable | NPV leader stable across discount/size | NPV leader range | Direct export scenario | Lagging baseline export rate | Harmonized export rate | Lagging baseline IRR | Lagging IRR after export harmonization | Leading baseline IRR | Remaining IRR gap after export harmonization
Vienna--Bratislava | 4.25 | 5.36 | 6.09 | Y | Y | C1
Singapore--Johor Bahru | 15.25 | 12.96 | 11.48 | Y | Y | C1 | Johor Bahru export = Singapore export | 0.07 | 0.219 | 16.84 | 24.7 | 29.8 | 5.1
San Diego--Tijuana | -2.42 | 5.8 | 10.93 | N | Y | C1
El Paso--Juarez | -11.95 | -7.11 | -4.35 | Y | Y | C2 | El Paso export = Juarez export | 0.02 | 0.119 | 3.69 | 7.43 | 10.8 | 3.36
Hong Kong--Shenzhen | -3.44 | -9.99 | -14.46 | Y | Y | C1
Monaco--Nice | -1.97 | -1.53 | -1.25 | Y | N | C1,C2

## 12_table_s_building_footprint_t
city | threshold_m2 | building_count | excluded_buildings | median_building_area_m2 | p90_building_area_m2 | building_area_km2 | pv_area_km2 | pv_utilization_pct
sandiego | 0 | 414749 | 0 | 182.8827 | 347.9043 | 100.8161 | 2.5825 | 2.5616
sandiego | 10 | 411663 | 3086 | 182.8827 | 347.9043 | 100.7913 | 2.5824 | 2.5621
sandiego | 20 | 384397 | 30352 | 182.8827 | 347.9043 | 100.3499 | 2.5808 | 2.5718
sandiego | 50 | 335801 | 78948 | 182.8827 | 347.9043 | 98.7285 | 2.5726 | 2.6057
tijuana | 0 | 1438885 | 0 | 27.7646 | 91.8326 | 71.8677 | 0.42827 | 0.59591
tijuana | 10 | 1080760 | 358125 | 27.7646 | 91.8326 | 70.095 | 0.42602 | 0.60778
tijuana | 20 | 858174 | 580711 | 27.7646 | 91.8326 | 66.8321 | 0.42294 | 0.63285
tijuana | 50 | 380134 | 1058751 | 27.7646 | 91.8326 | 50.8705 | 0.40985 | 0.80568
elpaso | 0 | 316020 | 0 | 167.0186 | 325.9706 | 66.2592 | 0.36543 | 0.55152
elpaso | 10 | 307179 | 8841 | 167.0186 | 325.9706 | 66.1858 | 0.36539 | 0.55206
elpaso | 20 | 278429 | 37591 | 167.0186 | 325.9706 | 65.7618 | 0.36487 | 0.55484
elpaso | 50 | 235874 | 80146 | 167.0186 | 325.9706 | 64.3812 | 0.36214 | 0.56249
juarez | 0 | 779737 | 0 | 51.628 | 153.32 | 74.0244 | 0.5635 | 0.76124
juarez | 10 | 763108 | 16629 | 51.628 | 153.32 | 73.8854 | 0.56324 | 0.76231
juarez | 20 | 674803 | 104934 | 51.628 | 153.32 | 72.5285 | 0.56111 | 0.77364
juarez | 50 | 402536 | 377201 | 51.628 | 153.32 | 63.0829 | 0.54315 | 0.86101

## 13_table_s_building_use_label_c
city | buildings | footprint_km2 | labeled_area_pct | others_area_pct | labeled_buildings_pct | others_buildings_pct
Vienna | 261797 | 60.21 | 76.8 | 23.2 | 90.5 | 9.5
Bratislava | 101906 | 20.81 | 97 | 3 | 94.8 | 5.2
Singapore | 282069 | 111.23 | 74.5 | 25.5 | 74.7 | 25.3
Johor Bahru | 563858 | 101.01 | 71.7 | 28.3 | 65.2 | 34.8
San Diego | 558057 | 126.77 | 52.3 | 47.7 | 48.9 | 51.1
Tijuana | 1438885 | 71.87 | 81.1 | 18.9 | 87.1 | 12.9
El Paso | 316020 | 66.26 | 21.4 | 78.6 | 13.6 | 86.4
Juarez | 779737 | 74.02 | 23.6 | 76.4 | 13.2 | 86.8
Hong Kong | 413781 | 78.07 | 80 | 20 | 88.6 | 11.4
Shenzhen | 78604 | 90.28 | 87.6 | 12.4 | 90.1 | 9.9
Monaco | 1352 | 0.73 | 65.3 | 34.7 | 64.3 | 35.7
Nice | 56898 | 9.58 | 53.7 | 46.3 | 41.4 | 58.6

## 14_table_s_detroit_windsor_cont
diagnostic | detroit | windsor | interpretation
median_household_income_2020_usd | 32498 | 52180.3951 | aligns with Windsor PV lead
central_scenario_irr_pct | 2.6774 | 3.0062 | aligns conditional on realized support
irr_without_capital_support_pct | -0.31209 | 0.15072 | direction remains Windsor-led if neither receives support
windsor_no_grant_comparison_irr_pct | 2.6774 | 0.15072 | direction reverses when Detroit credit is realized and Windsor grant is absent
revenue_friction_index | 6 | 4 | lower in Windsor
administrative_friction_index | 6 | 6 | tie
total_policy_friction_index | 12 | 10 | lower in Windsor
pvgis_annual_irradiation_symmetric_difference_pct | 0.46934 | 0.46934 | closely matched
pvgis_annual_pv_yield_symmetric_difference_pct | 1.0699 | 1.0699 | closely matched

## 15_table_s_detroit_windsor_mapp
metric | detroit | windsor | pair_interpretation
imagery_date | 2025-05-15 | 2025-06-06 | 22-day offset
orthophoto_tiles | 29716 | 12707 | same imagery workflow
municipal_boundary_area_km2 | 370.6979 | 159.0527 | OSM municipal relations
buildings | 336389 | 81876 | building-linked analysis
building_footprint_area_m2 | 48178639.0637 | 17466233.3443 | utilization denominator
mapped_linked_pv_area_m2 | 29081.84 | 137539.8274 | full linked polygons
pv_positive_buildings | 866 | 746 | 5-m building linkage
pv_positive_building_prevalence_pct | 0.25744 | 0.91113 | Windsor higher
all_building_pv_utilization_pct | 0.060363 | 0.78746 | Windsor higher
residential_pv_utilization_pct | 0.029188 | 0.19289 | Windsor higher
nonresidential_pv_utilization_pct | 0.08256 | 1.7655 | Windsor higher
roof_size_selection_factor | 12.1926 | 7.0313 | Detroit higher
conditional_pv_intensity_pct | 1.9231 | 12.2917 | Windsor higher
eligible_1km_cells_50plus | 395 | 125 | grid comparison base
median_eligible_cell_utilization_pct | 0.015695 | 0.23232 | Windsor higher
top_decile_share_city_pv_area_pct | 61.8428 | 47.985 | Detroit more concentrated
zero_pv_eligible_cell_share_pct | 28.8608 | 2.4 | Detroit higher

## 16_table_s_detroit_windsor_prim
descriptive_result | six_primary_pairs | with_detroit_windsor | change
same_side_sector_leadership | 4/6 | 5/7 | one same-side case added
split_sector_leadership | 2/6 | 2/7 | count unchanged
income_aligned_all_building_leadership | 3/6 | 4/7 | one income-aligned case added
income_reversed_all_building_leadership | 3/6 | 3/7 | count unchanged
central_scenario_irr_alignment | 6/6 | 7/7 | preserved under stated support
total_policy_friction_alignment | 4/6 | 5/7 | one aligned case added
income_alignment | 3/6 | 4/7 | one aligned case added

## 17_table_s_detroit_windsor_roof
footprint_bin_m2 | detroit_buildings | windsor_buildings | detroit_pv_utilization_pct | windsor_pv_utilization_pct | detroit_minus_windsor_gap_pp
0-50 | 71816 | 4643 | 0.0088955 | 0.1442 | -0.13531
50-100 | 130739 | 21722 | 0.023699 | 0.14479 | -0.12109
100-200 | 112267 | 40365 | 0.035245 | 0.20945 | -0.17421
200-500 | 13526 | 11955 | 0.083653 | 0.24118 | -0.15752
500-1000 | 4119 | 1766 | 0.08973 | 0.24748 | -0.15775
1000+ | 3922 | 1425 | 0.1092 | 2.0103 | -1.9011

## 18_table_s_detroit_windsor_vali
scope | test_tiles | pv_positive_tiles | dice | iou | precision | recall
All 12 annotated cities | 171 | 58 | 0.87321 | 0.77495 | 0.85094 | 0.89667
Detroit | 18 | 2 | 0.74579 | 0.59463 | 0.85009 | 0.66429
Windsor | 14 | 2 | 0.83597 | 0.71817 | 0.72805 | 0.98145

## 19_table_s_energy_emissions_ass
quantity | value | unit | source_or_role
Gap-closure scenario | Lagging city reaches paired higher all-building PV utilization | descriptive counterfactual | Computed from Table S1 city-level PV utilization and building-footprint denominators
PV capacity density | 0.15--0.25; central 0.2 | kW m-2 mapped PV area | Sensitivity range and central benchmark for converting mapped PV module area to DC capacity
Annual PV yield | city-specific | kWh kW-1 yr-1 | Table~\ref{tab:s1_economic_model_city_inputs} city-level economic inputs
Average grid-emissions factor | lagging-city source entity specific | gCO2e kWh-1; tCO2e MWh-1 | Ember/Our World in Data lifecycle carbon intensity of electricity generation; see grid-factor table

## 20_table_s_energy_emissions_gap
pair | lagging_city | frontier_city | current_pv_utilization_pct | frontier_pv_utilization_pct | gap_pct_points | lagging_roof_area_km2 | additional_pv_area_km2 | capacity_density_low_kw_per_m2 | capacity_density_kw_per_m2 | capacity_density_high_kw_per_m2 | additional_capacity_low_mw | additional_capacity_mw | additional_capacity_high_mw | pv_yield_kwh_per_kw_year | annual_generation_low_gwh | annual_generation_gwh | annual_generation_high_gwh | grid_emissions_factor_entity | grid_emissions_factor_year | grid_emissions_factor_gco2e_per_kwh | grid_emissions_factor_tco2e_per_mwh | grid_emissions_factor_note | avoided_emissions_central_ktco2e_per_year | avoided_emissions_low_capacity_ktco2e_per_year | avoided_emissions_high_capacity_ktco2e_per_year
Vienna--Bratislava | Bratislava | Vienna | 0.80921 | 2.7676 | 1.9584 | 20.8095 | 0.40754 | 0.15 | 0.2 | 0.25 | 61.1303 | 81.507 | 101.8838 | 1150 | 70.2998 | 93.7331 | 117.1664 | Slovakia | 2025 | 94.85 | 0.09485 | Country average generation intensity used for Bratislava. | 8.8906 | 6.6679 | 11.1132
Singapore--Johor Bahru | Johor Bahru | Singapore | 1.2923 | 7.2751 | 5.9828 | 101.0083 | 6.0431 | 0.15 | 0.2 | 0.25 | 906.4608 | 1208.6144 | 1510.768 | 1450 | 1314.3682 | 1752.4909 | 2190.6137 | Malaysia | 2025 | 601.97 | 0.60197 | Country average generation intensity used for Johor Bahru. | 1054.947 | 791.2102 | 1318.6837
San Diego--Tijuana | Tijuana | San Diego | 0.59591 | 2.6293 | 2.0334 | 71.8677 | 1.4613 | 0.15 | 0.2 | 0.25 | 219.2017 | 292.2689 | 365.3361 | 1650 | 361.6827 | 482.2436 | 602.8046 | Mexico | 2025 | 474.02 | 0.47402 | Country average generation intensity used for Tijuana. | 228.5931 | 171.4449 | 285.7414
El Paso--Juarez | El Paso | Juarez | 0.55152 | 0.76124 | 0.20971 | 66.2592 | 0.13895 | 0.15 | 0.2 | 0.25 | 20.8432 | 27.7909 | 34.7387 | 1750 | 36.4756 | 48.6341 | 60.7927 | United States | 2025 | 384.4 | 0.3844 | National average generation intensity used for El Paso; not an eGRID subregion factor. | 18.695 | 14.0212 | 23.3687
Hong Kong--Shenzhen | Hong Kong | Shenzhen | 1.8693 | 2.8065 | 0.93723 | 78.0668 | 0.73167 | 0.15 | 0.2 | 0.25 | 109.75 | 146.3333 | 182.9166 | 1350 | 148.1624 | 197.5499 | 246.9374 | Hong Kong | 2024 | 675.48 | 0.67548 | Latest available Hong Kong value in the OWID/Ember series. | 133.441 | 100.0808 | 166.8013
Monaco--Nice | Monaco | Nice | 0.78887 | 0.83443 | 0.045554 | 0.73425 | 0.00033448 | 0.15 | 0.2 | 0.25 | 0.050172 | 0.066897 | 0.083621 | 1500 | 0.075259 | 0.10034 | 0.12543 | France | 2025 | 41.44 | 0.04144 | France used as a proxy for Monaco because Monaco is not separately reported in the series. | 0.0041583 | 0.0031187 | 0.0051979

## 21_table_s_energy_emissions_gri
lagging_city | source_entity | year | grid_factor_gco2e_per_kwh | grid_factor_tco2e_per_mwh | source | source_url | note
Bratislava | Slovakia | 2025 | 94.85 | 0.09485 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | Country average generation intensity used for Bratislava.
Johor Bahru | Malaysia | 2025 | 601.97 | 0.60197 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | Country average generation intensity used for Johor Bahru.
Tijuana | Mexico | 2025 | 474.02 | 0.47402 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | Country average generation intensity used for Tijuana.
El Paso | United States | 2025 | 384.4 | 0.3844 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | National average generation intensity used for El Paso; not an eGRID subregion factor.
Hong Kong | Hong Kong | 2024 | 675.48 | 0.67548 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | Latest available Hong Kong value in the OWID/Ember series.
Monaco | France | 2025 | 41.44 | 0.04144 | Ember (2026), with major processing by Our World in Data | https://ourworldindata.org/grapher/carbon-intensity-electricity | France used as a proxy for Monaco because Monaco is not separately reported in the series.

## 22_table_s_external_calibration
scenario | segment | adjustment_basis | san_diego_scale_factor | san_diego_adjusted_capacity_mw | san_diego_adjusted_pv_positive_buildings | san_diego_mapped_external_capacity_ratio_after_adjustment | san_diego_adjusted_pv_utilization_pct | tijuana_pv_utilization_pct | gap_san_diego_minus_tijuana_pct_points | pairwise_leadership_after_adjustment | abs_gap_rank_among_six_pairs_for_segment | interpretation
Baseline mapped | All buildings | No one-sided calibration adjustment | 1 | 516.4918 | 59463 | 0.53711 | 2.5616 | 0.59591 | 1.9656 | San Diego | 2 | Boundary-audited mapped PV estimate; San Diego already leads Tijuana.
Baseline mapped | Residential | No one-sided calibration adjustment | 1 | 516.4918 | 59463 | 0.53711 | 2.5843 | 0.15137 | 2.4329 | San Diego | 2 | Boundary-audited mapped PV estimate; San Diego already leads Tijuana.
Baseline mapped | Non-residential | No one-sided calibration adjustment | 1 | 516.4918 | 59463 | 0.53711 | 2.5483 | 1.3017 | 1.2467 | San Diego | 3 | Boundary-audited mapped PV estimate; San Diego already leads Tijuana.
Capacity-calibrated | All buildings | Scale San Diego PV area by external/mapped capacity | 1.8618 | 961.6182 | 110709.8079 | 1 | 4.7692 | 0.59591 | 4.1733 | San Diego | 2 | One-sided capacity correction increases the San Diego lead.
Capacity-calibrated | Residential | Scale San Diego PV area by external/mapped capacity | 1.8618 | 961.6182 | 110709.8079 | 1 | 4.8115 | 0.15137 | 4.6601 | San Diego | 1 | One-sided capacity correction increases the San Diego lead.
Capacity-calibrated | Non-residential | Scale San Diego PV area by external/mapped capacity | 1.8618 | 961.6182 | 110709.8079 | 1 | 4.7445 | 1.3017 | 3.4429 | San Diego | 2 | One-sided capacity correction increases the San Diego lead.
Project-count stress test | All buildings | Scale San Diego PV area by external/mapped project count | 2.1694 | 1120.4596 | 128997 | 1.1652 | 5.5569 | 0.59591 | 4.961 | San Diego | 2 | Upper stress test treats the count shortfall as an area shortfall.
Project-count stress test | Residential | Scale San Diego PV area by external/mapped project count | 2.1694 | 1120.4596 | 128997 | 1.1652 | 5.6063 | 0.15137 | 5.4549 | San Diego | 1 | Upper stress test treats the count shortfall as an area shortfall.
Project-count stress test | Non-residential | Scale San Diego PV area by external/mapped project count | 2.1694 | 1120.4596 | 128997 | 1.1652 | 5.5282 | 1.3017 | 4.2266 | San Diego | 2 | Upper stress test treats the count shortfall as an area shortfall.

## 23_table_s_external_pv_calibrat
city | mapped_pv_area_km2 | mapped_capacity_mw | mapped_pv_positive_buildings | external_metric | external_value | external_capacity_or_proxy_mw | external_installations_or_applications | external_installation_label | comparison | count_comparison | calibration_usability | publisher | year_or_date | scope_limitations | url
Bratislava | 0.16839 | 33.6786 | 2686 | Increase in installed capacity of small and local sources; new users | >107; >11,000 |  |  |  | n.a. | n.a. | Low / insufficient. Could provide regional context only. | Západoslovenská distribučná, a.s. | 2023 | Service-territory mismatch; no Bratislava city aggregation; annual increase rather than cumulative PV stock; technology/siting mix unclear. | https://www.zsdis.sk/documents/89963/ZSD_RS_2023_EN.pdf
El Paso | 0.36543 | 73.0869 | 10953 | Distributed PV / net-metered capacity by utility and sector; interconnection process | Not extracted as City of El Paso value |  |  |  | n.a. | n.a. | Low to moderate only if utility territory is accepted as proxy. | EIA; El Paso Electric | Annual EIA-861; EPE pages current | Utility territory mismatch; no city-level breakdown; Texas and New Mexico service areas may be mixed; EIA notes estimation/AC–DC conversion issues for some DG fields. | https://www.eia.gov/electricity/data/eia861/
Hong Kong | 1.4593 | 291.8591 | 12171 | Official FiT estimated annual generation | 414 GWh yr-1; about 26,000 applications | 306.6667 | 26000 | about 26,000 approved FiT applications | Mapped/implied capacity = 0.95 | 0.47 | Moderate | HKSAR Government; CLP; HK Electric; EMSD | As of Sept. 2024 | Does not report installed MW in the cited government summary; applications may not all be completed; includes renewable systems generally, not strictly rooftop PV. | https://www.gov.hk/en/residents/environment/sustainable/renewable/feedintariff.htm
Johor Bahru | 1.3053 | 261.067 | 4874 | NEM quota/subscription; hosting capacity for DER interconnection | NEM 2.0 500 fully subscribed; NEM 3.0 quota up to 2,500 |  |  |  | n.a. | n.a. | Low / insufficient for city calibration. | SEDA Malaysia; TNB | NEM 2.0 to 2020; NEM 3.0 through 2025 quota period | National quota is not installed city capacity; no Johor Bahru aggregate; hosting capacity does not report installed systems. | https://www.seda.gov.my/reportal/nem/
Juarez | 0.5635 | 112.7001 | 7975 | Distributed-generation contracts/capacity by federal entity; circuit hosting capacity | No city value found; closest is Chihuahua/state or national DG capacity |  |  |  | n.a. | n.a. | Low / insufficient. | CRE; SENER; CFE Distribución | 2023–2024 reports | No municipal Juarez aggregate; state totals include all Chihuahua; circuit hosting capacity is not installed capacity. | https://www.gob.mx/cre/documentos/pequena-y-mediana-escala
Monaco | 0.0057923 | 1.1585 | 34 | PV subsidy eligibility; rooftop solar potential by roof | No installed-capacity value found |  |  |  | n.a. | n.a. | Not usable for installed-capacity calibration. Useful only for potential or policy context. | Government of Monaco; Mission for Energy Transition; SMEG | Current policy/potential pages; no installed-stock date found | Solar cadastre reports potential, not observed installations; SMEG distribution role found but no public installed PV registry; off-territory Monaco-owned renewable assets should not be used for rooftop calibration. | https://monservicepublic.gouv.mc/thematiques/logement/aides-prets-et-subventions/subventions-efficacite-energetique/demander-la-mesure-incitative-pour-les-dispositifs-de-production-electrique-de-type-photovoltaique
Nice | 0.079948 | 15.9896 | 991 | Official ODRE/Enedis registry | 13.13 MW; 959 installations | 13.1316 | 959 | 959 installations | Mapped/official capacity = 1.22 | 1.03 | High | RTE / ODRÉ; Enedis | Registry file downloaded Jun. 1, 2026; installations through Jan. 26, 2026 | Small systems under 36 kW are privacy-aggregated; all-registry PV is not rooftop-only unless filtered carefully; includes grid-connected PV through the registry date. | https://odre.opendatasoft.com/explore/dataset/registre-national-installation-production-stockage-electricite-agrege/
San Diego | 2.5825 | 516.4918 | 59463 | Official DGStats project-level registry | 961.6 MWdc; 128,997 projects | 961.6182 | 128997 | 128,997 projects | Mapped/official capacity = 0.54 | 0.46 | High | CPUC / California DG Stats | Current through Apr. 30, 2026 | ZIP/service-city boundaries are not exact; customer-site PV can include non-rooftop carports/ground mounts; excludes pending/decommissioned projects. | https://www.californiadgstats.ca.gov/
Shenzhen | 2.5338 | 506.7598 | 3758 | Official distributed PV capacity, older policy baseline | 280 MW existing in 2022; 1,500 MW planned addition | 280 |  |  | Mapped/2022 baseline capacity = 1.81 | n.a. | Moderate-low | Shenzhen Municipal Development and Reform Commission / Shenzhen Government | Dec. 2022 policy; 14th Five-Year Plan target | Stale relative to 2026; no public project-level registry found; scope is distributed/all PV, not rooftop-only; target should not be treated as observed installed capacity. | https://fgw.sz.gov.cn/zwgk/qt/tzgg/content/post_10303644.html
Singapore | 8.0923 | 1618.4694 | 12737 | Official grid-connected solar PV capacity | 2,093 MWp; 14,625 installations | 2093 | 14625 | 14,625 installations | Mapped/official capacity = 0.77 | 0.87 | High | Energy Market Authority; data.gov.sg | End Q4 2025; planning-region data also available for earlier periods | Not rooftop-only; may include ground-mounted, floating, industrial, public-sector systems. | https://www.ema.gov.sg/resources/statistics/installed-capacity-of-grid-connected-solar-photovoltaic-systems
Tijuana | 0.42827 | 85.6533 | 4456 | Distributed-generation contracts/capacity by federal entity; circuit hosting capacity | No city value found; closest is Baja California/state or national DG capacity |  |  |  | n.a. | n.a. | Low / insufficient. State totals may give context but not city calibration. | CRE; SENER; CFE Distribución | 2023–2024 reports; CFE platform current | No municipal Tijuana aggregate; CFE hosting capacity is interconnection capacity, not installed capacity; state totals include areas outside Tijuana. | https://www.gob.mx/cre/documentos/pequena-y-mediana-escala
Vienna | 1.6663 | 333.2514 | 16620 | Official installed PV capacity | 308 MWp; 16,702 systems | 308 | 16702 | 16,702 systems | Mapped/official capacity = 1.08 | 1 | High | City of Vienna / Wiener Netze | End Sept. 2025 | Not pure rooftop; includes C&I/business surfaces and possibly non-roof sites. Capacity, not mapped area. | https://www.wien.gv.at/spezial/5-jahre-sonnenstrom-offensive/ziele-und-deren-erreichung/kurzfristige-und-langfristige-zielsetzungen/

## 24_table_s_segment_economic_res
City | Segment | Electricity Rate ($/kWh) | Export Rate ($/kWh) | Blended Value of Solar ($/kWh) | LCOE ($/kWh) | NPV ($) | IRR (%) | Discounted Payback (Years)
Vienna | All-building baseline | 0.292 | 0.216 | 0.269 | 0.1339 | 10461 | 15.4 | 7.64
Vienna | Residential tariff proxy | 0.313 | 0.216 | 0.284 | 0.1339 | 11609 | 16.44 | 7.12
Vienna | Non-residential tariff proxy | 0.232 | 0.216 | 0.227 | 0.1339 | 7214 | 12.41 | 9.67
Bratislava | All-building baseline | 0.194 | 0.173 | 0.188 | 0.1279 | 4622 | 10.05 | 12.12
Bratislava | Residential tariff proxy | 0.209 | 0.173 | 0.198 | 0.1279 | 5423 | 10.85 | 11.16
Bratislava | Non-residential tariff proxy | 0.186 | 0.173 | 0.182 | 0.1279 | 4167 | 9.58 | 12.74
Singapore | All-building baseline | 0.241 | 0.219 | 0.234 | 0.0641 | 16603 | 29.8 | 3.72
Singapore | Residential tariff proxy | 0.232 | 0.219 | 0.228 | 0.0641 | 15955 | 28.9 | 3.84
Singapore | Non-residential tariff proxy | 0.212 | 0.219 | 0.214 | 0.0641 | 14658 | 27.1 | 4.12
Johor Bahru | All-building baseline | 0.128 | 0.07 | 0.111 | 0.0508 | 5833 | 16.85 | 6.93
Johor Bahru | Residential tariff proxy | 0.129 | 0.07 | 0.111 | 0.0508 | 5888 | 16.95 | 6.88
Johor Bahru | Non-residential tariff proxy | 0.127 | 0.07 | 0.11 | 0.0508 | 5785 | 16.76 | 6.96
San Diego | All-building baseline | 0.282 | 0.03 | 0.206 | 0.1103 | 10662 | 14.09 | 8.42
San Diego | Residential tariff proxy | 0.32 | 0.03 | 0.233 | 0.1103 | 13589 | 16.34 | 7.17
San Diego | Non-residential tariff proxy | 0.244 | 0.03 | 0.18 | 0.1103 | 7735 | 11.78 | 10.22
Tijuana | All-building baseline | 0.088 | 0.119 | 0.098 | 0.0751 | 2496 | 8.33 | 14.76
Tijuana | Residential tariff proxy | 0.122 | 0.119 | 0.121 | 0.0751 | 5113 | 11.49 | 10.5
Tijuana | Non-residential tariff proxy | 0.055 | 0.119 | 0.074 | 0.0751 | -120 | 4.83 | No payback
El Paso | All-building baseline | 0.111 | 0.02 | 0.084 | 0.0936 | -1154 | 3.7 | No payback
El Paso | Residential tariff proxy | 0.149 | 0.02 | 0.111 | 0.0936 | 2000 | 7.1 | 17.42
El Paso | Non-residential tariff proxy | 0.073 | 0.02 | 0.057 | 0.0936 | -4300 | -0.46 | No payback
Juarez | All-building baseline | 0.105 | 0.119 | 0.109 | 0.0708 | 4503 | 10.78 | 11.25
Juarez | Residential tariff proxy | 0.122 | 0.119 | 0.121 | 0.0708 | 5927 | 12.44 | 9.64
Juarez | Non-residential tariff proxy | 0.087 | 0.119 | 0.097 | 0.0708 | 3078 | 9.05 | 13.53
Hong Kong | All-building baseline | 0.183 | 0.35 | 0.233 | 0.1296 | 9393 | 13.39 | 8.9
Hong Kong | Residential tariff proxy | 0.179 | 0.35 | 0.231 | 0.1296 | 9164 | 13.21 | 9.03
Hong Kong | Non-residential tariff proxy | 0.191 | 0.35 | 0.239 | 0.1296 | 9927 | 13.83 | 8.6
Shenzhen | All-building baseline | 0.106 | 0.07 | 0.095 | 0.0328 | 5642 | 23.31 | 4.86
Shenzhen | Residential tariff proxy | 0.097 | 0.07 | 0.089 | 0.0328 | 5076 | 21.63 | 5.27
Shenzhen | Non-residential tariff proxy | 0.115 | 0.07 | 0.101 | 0.0328 | 6207 | 24.99 | 4.5
Monaco | All-building baseline | 0.228 | 0.173 | 0.211 | 0.1213 | 9088 | 12.86 | 9.3
Monaco | Residential tariff proxy | 0.228 | 0.173 | 0.211 | 0.1213 | 9088 | 12.86 | 9.3
Monaco | Non-residential tariff proxy | 0.228 | 0.173 | 0.211 | 0.1213 | 9088 | 12.86 | 9.3
Nice | All-building baseline | 0.205 | 0.173 | 0.196 | 0.1026 | 9375 | 14.42 | 8.22
Nice | Residential tariff proxy | 0.225 | 0.173 | 0.209 | 0.1026 | 10765 | 15.68 | 7.5
Nice | Non-residential tariff proxy | 0.186 | 0.173 | 0.182 | 0.1026 | 7984 | 13.13 | 9.09

## 25_table_s_urban_evidence_bound
observed_quantity | what_it_establishes | what_it_does_not_establish | additional_evidence_needed
Citywide and sector-specific PV utilization | Direction and magnitude of mapped PV area relative to the building-footprint denominator for each city or rooftop segment | Installed capacity, electricity contribution, usable-roof saturation or the cause of a city or sector gap | Harmonized capacity records, usable-roof estimates, installation dates and sector-specific project histories
Prevalence, roof selection and conditional intensity | Exact algebraic composition of utilization and the observed contribution of each building-level dimension to a pairwise gap | Why the components differ, whether they are independent or the causal effect of any building, market or policy attribute | Roof geometry and suitability, system design, ownership and tenancy, installer and financing records, and longitudinal building-level installations
Eligible-grid distributions and spatial concentration | Whether mapped PV is broadly distributed or concentrated, including median-grid ordering, zero-PV cells and highest-utilization-cell shares | Neighborhood mechanisms, household or firm responses, or results independent of grid definition | Neighborhood covariates, local land use and network conditions, repeated spatial observations and designs that address sorting and confounding
Standardized IRR, NPV and one-factor matching scenarios | Technology-specific return comparisons under common assumptions and the arithmetic input value that matches a paired baseline scenario when other inputs are fixed | Observed project returns, sector-specific finance, an intervention requirement, or the causal deployment effect of changing one input | Project costs, financing, taxes, load profiles, storage, incentive receipt, installation timing and observed responses to tariff or support changes
Documented-policy friction scores | Transparent ordinal comparison of written revenue and administrative rules under a common codebook | Implementation quality, queue time, enforcement, customer experience, policy supportiveness or a causal policy effect | Application and interconnection records, processing times, fees, rejection reasons, installer and applicant evidence, and policy changes observed over time
Income ordering, solar-resource proximity and border adjacency | Descriptive socioeconomic ordering, regional resource similarity and geographic context for the mapped cases | A harmonized individual-income exposure, balance on observed or unobserved factors, outcome-independent sampling or population-level generalizability | Harmonized microdata, a documented prospective sampling frame, more cases, repeated outcomes and credible comparison or quasi-experimental designs